DESCRIPTION

This work shall consist of the excavation and necessary backfill and restoration required for traffic signal conduits.

MATERIALS

Materials for the restoration of top surfaces shall be as indicated on the plans and as approved by the engineer.

CONSTRUCTION DETAILS

The requirements of subsection 206.3 of the nysdot Standard Specifications, latest revision, shall apply with the following additions:

When the contractor is required to excavate through pavement or sidewalk, he shall saw cut along neat lines as shown on the plans or as ordered by the engineer.  An approved power saw, as approved by the engineer prior to actual use, shall be used to saw cut to the depth specified on the plans or as directed by the engineer.

The conduit excavation and backfill and the restoration of top surface courses shall also conform to the applicable notes and details shown on the plans.

METHOD OF MEASUREMENT

Subsection 206.4.03 of the nysdot Standard Specifications, latest revision, shall apply, except that measurement shall be in linear feet.

BASIS OF PAYMENT

The unit price bid per linear foot shall include the cost of furnishing all labor, materials and equipment necessary to complete the work including excavation, backfill, saw cutting and restoring as shown on the plans.

Any damage to existing pavement, sidewalk, curb or other facilities caused by the contractor’s operations shall be repaired by the contractor to the satisfaction of the engineer at no additional cost to the county.

Payment will be made under:

| Item No. | Item | Pay Unit |
| --- | --- | --- |
| C206.0815 | Traffic Signal Conduit Excavation and Restoration in Asphalt Concrete | LF |
| C206.0816 | Traffic Signal Conduit Excavation and Restoration in Portland Cement Concrete | LF |
| C206.0817 | Traffic Signal Conduit Excavation and Restoration in Composite Pavement | LF |
| C206.0818 | Traffic Signal Conduit Excavation and Restoration in Concrete Sidewalk and Driveways | LF |
| C206.0819 | Traffic Signal Conduit Excavation and Restoration in Asphalt Sidewalk and Driveways | LF |
| C206.0820 | Traffic Signal Conduit Excavation and Restoration in Grass and Unpaved Areas | LF |